{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":14,"n_cols":19,"rows_kept":14,"cut":false,"hidden":false,"merged":[[3,1,3,7],[3,8,3,12],[3,13,3,17]]}
["Path to section files under user profile:"]
["Documents\\CFS Files\\SFIA.cfsl|Structural Studs 50 ksi"]
[]
[null,"Gross Properties",null,null,null,null,null,null,"Torsion Properties",null,null,null,null,"ASD Strength (S100-24)",null,null,null,null,"Eff.Prop."]
["Section","A","Ix","Sx","rx","Iy","Sy","ry","Jx1000","Cw","xo","ro","j","Pal","Pad","Malx+","Madx+","Vay","Ixe"]
[null,"in²","in⁴","in³","in","in⁴","in³","in","in⁴","in⁶","in","in","in","k","k","k-in","k-in","k","in⁴"]
["250S137-54",{"$f":"cfsproperties($A$2 & \"\\\" & A7 & \".cfss\")","v":0.31578594446182251},0.31835481524467468,0.25468385219573975,1.0040591955184937,8.0346807837486267E-2,8.9846678078174591E-2,0.50441491603851318,0.33721303939819336,0.107177734375,-1.1117817163467407,1.5807048082351685,1.5683424472808838,6.9842667579650879,6.5668954849243164,7.3780765533447266,6.7717714309692383,0.53799188137054443,0.31835481524467468]
["362S162-54",{"$f":"cfsproperties($A$2 & \"\\\" & A8 & \".cfss\")","v":0.42191091179847717},0.87302005290985107,0.4816662073135376,1.438473105430603,0.15434196591377258,0.14177316427230835,0.6048276424407959,0.45053896307945251,0.4325595498085022,-1.2798440456390381,2.0181729793548584,2.0547196865081787,8.2101593017578125,7.7487883567810059,13.597257614135742,12.215154647827148,0.99942421913146973,0.87302005290985107]
["400S162-54",{"$f":"cfsproperties($A$2 & \"\\\" & A9 & \".cfss\")","v":0.44313591718673706},1.0980472564697266,0.54902356863021851,1.5741351842880249,0.15956360101699829,0.14336502552032471,0.60006517171859741,0.47320419549942017,0.52990448474884033,-1.2345689535140991,2.088573694229126,2.1870179176330566,8.3034858703613281,7.9238853454589844,15.35219669342041,13.909244537353516,1.2020102739334106,1.0980472564697266]
["600S200-54",{"$f":"cfsproperties($A$2 & \"\\\" & A10 & \".cfss\")","v":0.61293596029281616},3.3198025226593018,1.1066007614135742,2.3272795677185059,0.32874107360839844,0.23049922287464142,0.73235130310058594,0.65452581644058228,2.3915400505065918,-1.4286742210388184,2.8273096084594727,3.1696765422821045,9.2339496612548828,"NA",30.162879943847656,26.581335067749023,1.8132914304733276,3.3198025226593018]
["800S250-54",{"$f":"cfsproperties($A$2 & \"\\\" & A11 & \".cfss\")","v":0.78273600339889526},7.4659786224365234,1.8664944171905518,3.0884153842926025,0.61451482772827148,0.33283472061157227,0.88605058193206787,0.83584725856781006,7.5682220458984375,-1.6559739112854004,3.6146433353424072,4.2987728118896484,9.5789899826049805,9.5412311553955078,44.610919952392578,39.077751159667969,1.9287303686141968,7.4007172584533691]
["1000S300-54",{"$f":"cfsproperties($A$2 & \"\\\" & A12 & \".cfss\")","v":0.95253586769104004},14.076812744140625,2.8153624534606934,3.8442490100860596,1.0240278244018555,0.45207390189170837,1.0368483066558838,1.0171687602996826,19.247882843017578,-1.885744571685791,4.4056029319763184,5.4594769477844238,9.7640094757080078,9.1337108612060547,54.845184326171875,50.914817810058594,1.8570866584777832,13.527055740356445]
["1200S300-54",{"$f":"cfsproperties($A$2 & \"\\\" & A13 & \".cfss\")","v":1.0657358169555664},21.699872970581055,3.6166455745697021,4.5123610496520996,1.0745620727539063,0.45917072892189026,1.0041323900222778,1.1380496025085449,29.110019683837891,-1.7357237339019775,4.9378557205200195,6.8586935997009277,9.7882223129272461,8.1695032119750977,54.493373870849609,"NA",1.4380048513412476,21.643739700317383]
["1400S350-54",{"$f":"cfsproperties($A$2 & \"\\\" & A14 & \".cfss\")","v":1.2779858112335205},35.831165313720703,5.1187376976013184,5.295018196105957,1.9477176666259766,0.73084616661071777,1.234525203704834,1.364701509475708,74.5389404296875,-2.2012147903442383,5.865715503692627,7.749241828918457,12.37642765045166,10.779364585876465,78.671684265136719,"NA",1.3269742727279663,35.565681457519531]